Weekly Safety Inspection Report			Job Name ____________________

Inspected by ________________  			Date _________________________

| 1. Job Information |  |  |  |  |
| --- | --- | --- | --- | --- |
| OSHA 300 forms posted and complete? |  |  |  |  |
| OSHA poster posted ? |  |  |  |  |
| Phone no. for the nearest medical center posted ? |  |  |  |  |
| Weekly Safety Meetings up to date? |  |  |  |  |
| Work areas properly signed and barricaded? |  |  |  |  |
| Is each employee instructed in the recognition and avoidance of unsafe conditions? |  |  |  |  |
| Are first aid supplies readily accessible? |  |  |  |  |
| Is facility for the treatment of injured employees located within 15 minutes of the jobsite, if not, is there an employee trained in first aid at the site? |  |  |  |  |
| Are telephone numbers, physicians, hospitals and ambulances conspicuously posted? |  |  |  |  |
| Are potable drinking water and toilet facilities available at the site? |  |  |  |  |
| Is there protection for bloodborne pathogens? |  |  |  |  |
| 2. Housekeeping |  |  |  |  |
| General neatness of work area? |  |  |  |  |
| Projecting nails removed or bent over? |  |  |  |  |
| Waste containers provided and used? |  |  |  |  |
| Passageways and walkways clear? |  |  |  |  |
| 3. Fire Prevention |  |  |  |  |
| Adequate fire extinguishers, checked and accessible? |  |  |  |  |
| Phone no. of fire department posted? |  |  |  |  |
| “No Smoking” posted and enforced near flammables? |  |  |  |  |
| 4. Electrical |  |  |  |  |
| Extension cords or attachments cords with bare wires or missing ground prongs or damaged taken out of service? |  |  |  |  |
| Ground fault circuit interrupters being used? |  |  |  |  |
| Terminal boxes equipped with required covers? |  |  |  |  |
| Are flexible cords and cables protected from damage? |  |  |  |  |
| Are unused openings in cabinet boxes and fittings closed? |  |  |  |  |
| Are all cabinets, panels and switches located in wet locations enclosed in weather proof enclosures? |  |  |  |  |
| 5. Hand, Power & Powder Actuated Tools |  |  |  |  |
| Hand tools inspected regularly? Broken handles and mushroom heads? |  |  |  |  |
| Guards in place on machines, such as saws? |  |  |  |  |
| Right tool being used for job at hand? |  |  |  |  |
| Operators of powder actuated tools are licensed? |  |  |  |  |
| 6. Fall Protection |  |  |  |  |
| Safety rails and cables are secured properly? |  |  |  |  |
| Employees exposed to fall hazards are tied off? |  |  |  |  |
| Employees below protected from falling objects? |  |  |  |  |
| Employees using body belts for positioning devices only? |  |  |  |  |
| Are employees working more than 6' above a lower level protected by guardrails, safety nets, personal fall arrest system? |  |  |  |  |
| 7. Ladders |  |  |  |  |
| Ladders extend at least 36" above the landing? |  |  |  |  |
| Ladders are secured to prevent slipping, sliding, or falling? |  |  |  |  |
| Ladders with split or missing rungs taken out of service? |  |  |  |  |
| Stepladders used in fully open position? |  |  |  |  |
| No step at top two rungs of stepladder? |  |  |  |  |

| 8. Scaffolding |  |  |  |  |
| --- | --- | --- | --- | --- |
| All scaffolding inspected daily? |  |  |  |  |
| Erected on sound rigid footing? |  |  |  |  |
| Tied to structure as required? |  |  |  |  |
| Guardrails, intermediate rails, toeboards and screens in place? |  |  |  |  |
| Planking is sound and sturdy? |  |  |  |  |
| Proper access provided? |  |  |  |  |
| Employees below protected from falling objects? |  |  |  |  |
| 9. Floor & Wall Openings |  |  |  |  |
| All floor or deck openings are planked over or barricaded? |  |  |  |  |
| Perimeter protection is in place? |  |  |  |  |
| Deck planks are secured? |  |  |  |  |
| Materials are stored away from edge? |  |  |  |  |
| 10. Trenches, Excavation & Shoring |  |  |  |  |
| Competent person on hand inspecting daily |  |  |  |  |
| Excavations over 5' in depth are shored or sloped back? |  |  |  |  |
| Materials are stored at least two feet from trench? |  |  |  |  |
| Equipment is a safe distance from edge of trench or excavation? |  |  |  |  |
| Ladders provided every 25' in trench more than 4' deep? |  |  |  |  |
| Have underground utility installations been located? |  |  |  |  |
| Are employees exposed to vehicular traffic wearing warning vests of reflectorized or highly visibility material? |  |  |  |  |
| 11. Material Handling |  |  |  |  |
| Materials are properly stored or stacked? |  |  |  |  |
| Employees are using proper lifting methods? |  |  |  |  |
| Tag lines are used to guide loads? |  |  |  |  |
| Proper number of workers for each operation? |  |  |  |  |
| 12. Welding & Burning |  |  |  |  |
| Gas cylinders stored upright and secured? |  |  |  |  |
| Proper separating distance between fuels and oxygen?(min 20') |  |  |  |  |
| Burning/welding goggles or shields are used? |  |  |  |  |
| Fire extinguishers are nearby? |  |  |  |  |
| Hoses and regulators are in good condition? |  |  |  |  |

| 13. Cranes |  |  |  |  |
| --- | --- | --- | --- | --- |
| Outriggers are extended and swing radius barricade in place? |  |  |  |  |
| Operator is familiar with load carts? |  |  |  |  |
| Crane operators logs are up-to-date? |  |  |  |  |
| Employees kept from under suspended loads? |  |  |  |  |
| Chains and sling inspected and tagged as required? |  |  |  |  |
| Hand signal charts are on crane? |  |  |  |  |

| 14. Concrete Construction |  |  |  |  |
| --- | --- | --- | --- | --- |
| Employees are protected from cement dust? |  |  |  |  |
| Exposed skin covered? |  |  |  |  |
| Runways are adequate? |  |  |  |  |
| Walls over 8' are supported? |  |  |  |  |
| Are all protruding reinforcing rods covered? |  |  |  |  |
| Is lockout/tagout procedure in use on any machinery where inadvertent operation could cause injury? |  |  |  |  |

| 15. Personal Protective Equipment |  |  |  |  |
| --- | --- | --- | --- | --- |
| Hard hats are being worn? |  |  |  |  |
| Safety glasses are being worn? |  |  |  |  |
| Respirators are used when required? |  |  |  |  |
| Hearing protection being worn when required? |  |  |  |  |
| Traffic vests being worn? |  |  |  |  |
| 16. Vehicles |  |  |  |  |
| Do vehicles, earth moving or compacting equipment with an obstructed view to the rear have a backup alarm or used with an observer? |  |  |  |  |
| Do vehicles and earth moving equipment have seat belts and are they used? |  |  |  |  |
| Are flagmen wearing reflectorized garments and using flags, sign paddles or lights? |  |  |  |  |
| 17. Stairs |  |  |  |  |
| Are flights of stairs with 4 or more risers equipped with standard stair railings or handrails? |  |  |  |  |
| 18. Miscellaneous |  |  |  |  |
| Is a written Hazard Communication Program on site including MSDS, materials list, container labeling, employee training. |  |  |  |  |
| Is exposure to lead or lead based paint, such as paint removal controlled? |  |  |  |  |
| Is exposure to silica, such as sandblasting, using sand or cutting brick or cinderblock controlled? |  |  |  |  |
| Is exposure to asbestos controlled? |  |  |  |  |
| 19. Unsafe Acts or Practices Observed (List): _____________________________________________________________________________________________________ ______________________________________________________________________________________________________________________________________________________________________________________________________________________ __________________________________________________________________________________________________________ |

Signature ______________________________________	Date ___________________________

# Text boxes

## Y    N    N/A    Comment

## Y    N   N/A   Comment

Y   N    N/A    Comment

WEEKLY SAFETY INSPECTION CHECKLIST

WEEKLY SAFETY INSPECTION CHECKLIST