##### MONTHLY BUILDING INSPECTION FORM

Building: __________________	Inspector:	_______________		Date:_______

| OK | Not ok | Description | Comments/Action(s) |
| --- | --- | --- | --- |
|  |  | Electric cord attached to building surface or run through door/ceiling/wall. |  |
|  |  | Electric cord frayed, cut, or damaged. |  |
|  |  | Light-duty 2-prong extension cord used. |  |
|  |  | Ground pin missing from cord. |  |
|  |  | Empty opening (knockout) in electric box. |  |
|  |  | Exposed live electrical parts. |  |
|  |  | Ungrounded equipment. |  |
|  |  | Storage within 3' of electric panels. |  |
|  |  | Circuit breakers/disconnects not labeled. |  |
|  |  | Fire extinguishers blocked/obscured. |  |
|  |  | Fire extinguishers w/o monthly check. |  |
|  |  | Exit doors blocked/locked. |  |
|  |  | Exit signs/arrows not in place and visible. |  |
|  |  | Emergency evacuation lights not tested. |  |
|  |  | Storage >5' w/o stepstool or ladder. |  |
|  |  | Storage within 18"of sprinkler heads. |  |
|  |  | Storage within 3' of heater/heat source. |  |
|  |  | Storage aisles <28"wide. |  |
|  |  | Storage stacks lean/unstable. |  |
|  |  | Compressed gas not capped/chained |  |
|  |  | Excessive flammables outside of cabinets. |  |
|  |  | Incompatible chemicals stored together. |  |
|  |  | Chemicals not labeled with name/hazards. |  |
|  |  | Material Safety Data Sheets not available. |  |
|  |  | Emergency shower/eyewash not tested weekly. |  |
|  |  | Housekeeping not up to standards. |  |
|  |  | Wet/slippery floors not marked/corrected. |  |
|  |  | Trip hazards in floor, stairs, sidewalks etc |  |
|  |  | First-aid kit and PPE not available. |  |
|  |  | Burned out or missing light bulbs. |  |
|  |  | Oily/greasy rags not in covered metal can. |  |
|  |  | Other: |  |
|  |  | Other: |  |

# CSB 7/17/02